## Boiler
How many percent could I reduce my energy consumption?
Tick the boxes below in "Applicability Column" if you could apply the energy savings measures suggested
Boiler systems savings
No. | Energy Savings Measure | Typical range of savings potential (%) | Select "yes" if applicable | Potential | Remaining | Pay back period
100%
1 | Steam leakage preventative program | 10.5% |  | 100% | 100% |  | <1 year
2 | Steam trap maintenance program | 5.5% |  | 5.5% | 100% |  | 1-3 years
11 | Operate at suitable steam pressure | 5.5% |  | 5.5% | 100% |  | >3 years
3 | Insulation of hot surfaces/devices | 8% |  | 8% | 100%
4 | Recover condensate | 2% |  | 2% | 100%
15 | Apply descaling for feed water | 8% |  | 8% | 100%
10 | Use hot water for boiler feedwater | 10.5% |  | 10.5% | 100%
5 | Automatic blowdown | 3% |  | 3% | 100%
7 | Optimize control of boiler | 3% |  | 3% | 100%
9 | Economizer - utilize waste heat from flue gas | 2.5% |  | 2.5% | 100%
8 | Air preheater - utilize waste heat from flue gas | 5.5% |  | 5.5% | 100%
12 | Renovate current boiler | 5.5% |  | 5.5% | 100%
6 | Optimize combusion based on Oxygen in flue gas | 20% |  | 20% | 100%
13 | Install new boiler with higher efficiency | 3% |  | 3% | 100%
14 | Fuel switching | 3% |  | 3% | 100%
16 | Utilize biofuel sources | 5.5% |  | 5.5% | 100%
| Total potential, short pbp | Total potential, short and mid term pbp | Total potential, all measures
| 0% | 0% | 0%