## Refrigeration
How many percent could I reduce my energy consumption?
Tick the boxes below in "Applicability Column" if you could apply the energy savings measures suggested
Refrigeration systems savings
No. | Energy Savings Measure | Typical range of savings potential (%) | Select "yes" if applicable | Potential | Remaining | Pay back period
100%
1 | Optimize operation | 10% |  | 100% | 100% |  | <1 year
2 | Regular maintenance | 5.5% |  | 5.5% | 100% |  | 1-3 years
6 | Minimize heat penetration | 7.5% |  | 7.5% | 100% |  | >3 years
3 | Insulation | 5% |  | 5% | 100%
4 | Discharge non-condensible gas | 0% |  | 0% | 100%
11 | Energy management | 8.5% |  | 8.5% | 100%
7 | Cleaning with chemical | 4% |  | 4% | 100%
9 | Centralize system | 5.5% |  | 5.5% | 100%
10 | VSD integration | 11.5% |  | 11.5% | 100%
8 | Automatic cleaning system | 17.5% |  | 17.5% | 100%
12 | Invest in new equipment | 8.5% |  | 8.5% | 100%
5 | Ice storage during non-production/off-peak hours | 22.5% |  | 22.5% | 100%
13 | Install water purger | 5% |  | 5% | 100%
| Total potential, short pbp | Total potential, short and mid term pbp | Total potential, all measures
| 0% | 0% | 0%