## Ventilation
How many percent could I reduce my energy consumption?
Tick the boxes below in "Applicability Column" if you could apply the energy savings measures suggested
Ventilation systems savings
No. | Energy Savings Measure | Typical range of savings potential (%) | Select "yes" if applicable | Potential | Remaining | Pay back period
100%
1 | Flow control through damper | 3% |  | 100% | 100% |  | <1 year
4 | Frequent maintenance | 12.5% |  | 12.5% | 100% |  | 1-3 years
5 | Optimize operating time | 20% |  | 20% | 100% |  | >3 years
2 | Flow control through VSD | 4% |  | 4% | 100%
3 | Suitable design | 3% |  | 3% | 100%
| Total potential, short pbp | Total potential, short and mid term pbp | Total potential, all measures
| 0% | 0% | 0%